GOOD MANUFACTURING PRACTICE AUDIT

(GMP AUDIT – CHECK LIST)

For Pharmaceutical Manufacturing Facilities

Good Manufacturing Practice – GMP Audit Checklist

Sr #     			 			(Contents) 					       Page #

- Quality Assurance ………											  03

- Premises……….												  04

- Personnel………. 												  05

- Validation……….												  06

- Documentation / Records……….										  07

- Vendor Qualification……….											  09

- Change Control Program………										  09

- Sample…………     												  09

- Stability Studies…………											  10

- Drug Recall………												  10

- Annual Product Review……..											  10

- Audits………													  11

- Quality Control Departments……….										  12

- Manufacturing Area………..											  13

  - Equipment………….												  13

14.1.6   Equipment Calibration……….										  13

14.1.7   Material / Component ………..										  14

14.2      Raw Material……….												  14

14.3      Purified and Water for Injection Systems………								  16

14.4      Depack / Preparation component room………..								  19

14.5      Sterilizer / Oven Loading Room ………									  20

14.6      Equipment Airlock……..											  21

14.7      Washroom / Grown change room………									  22

14.8      Manufacturing (Sterile Product) ………..         								               23

14.9      Aspectic Batching Area……….										  25

14.11    Filling room……….												  27

14.14    Terminal Sterilization……….											  30

14.15    Packaging……….. 												  31

14.16    Manufacturing (Oral dosages) ………										  32

14.17    Packaging…													  34

- Reprocessing ………												  35

- Finished Product Control……..										  35

- Warehouse / Distribution………										  36

- Environment, Health & Safety									  	               37

GOOD MANUFACTURING PRACTICE (GMP AUDIT- CHECK LIST)

(FOR PHARMACETICAL MANUFACTURING FACILITIES)

| SR # | CRITERIAS | Yes | No | Not Applicable | RATING (1-10) (1=low 10=high) | REMARKS |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (To be filled by Auditee) | (To be filled by Auditor) | To be filled by Auditor |
| 1.0 1.1 1.2 1.3 1.4 1.5 1.6 1.7 1.8 1.9 | QUALITY ASSURANCE Does the company have mission statement and the quality policy? Is the company ISO certified? Was the company previously audited (GMP audit)? Are pharmaceutical products designed and developed according to the requirement of GMP & other associated codes such as good laboratory practice (GLP) and good clinical practice (GCP)? Are production and control operations clearly specified in a written form and GMP requirements are adopted? Are managerial responsibilities clearly specified in job descriptions? Are all necessary controls on starting materials, intermediate products and other in-process controls, calibrations and validation carried out? Are finished products correctly processed and checked according to the defined procedures? Are satisfactory arrangements existed to store in appropriate storage conditions? |  |  |  |  |  |
| 2.0 2.1 2.1.1 2.1.2 2.1.3 2.1.4 2.2 2.3 2.4 2.5 2.5.1 2.5.2 2.5.3 2.5.4 2.5.5 2.6 2.6.1 2.6.2 | PREMESIS (DESIGN & LAYOUT OF FACILITIES) Does the facility have proper design, layout and finishes based on contemporary standards to: Manufacture high quality medicine. Avoidance of cross contamination. Proper cleaning, drainage and sanitizing. Ventilation, air conditioning and maintenance. Is there emergency power supply available to take care of entire energy demand or at least critical areas? Does the facility have appropriate controls to maintain required parameters e.g. temperature, relative humidity and pressure differentials etc? Are the doors, windows, walls, ceiling and floor such that no holes or cracks evident (other than those intended by design)? PLANT SAFETY & SECURITY Does the facility have safety program? Are safety procedures written? Do employees receive safety orientation before working in the plant area? Does the facility have a formal, written security policy? Is access to the facility restricted? SANITATION Is written sanitation program available on the premises? Is sanitation program is implemented and effective in preventing conditions? |  |  |  |  |  |
| 3.0 3.1 3.2 3.3 3.4 3.5 3.6 3.6.1 3.6.2 3.6.3 3.6.4 3.6.5 | PERSONNEL (STAFFING PLAN, STAFF QUALIFICATION, EXPERIENCE , ON THE JOB TRAINING & HYGIENE) Has the facility provided sufficient qualified personnel to fulfill all its responsibilities required under the rule? Has the facility provided Organization Chart? Does the company have qualified, trained and experience staff required for managing? Does the company have “On the job training program” for technical staff? Is the technical staff, including supervisors and operations certified (and documented) in specialized training e.g. aseptic technique, sterilizing, washing, depyrogenation, visual inspection, standard operating procedure etc. HYGIENE Are all the personal under gone health examination to prior to employment? Are all the personnel provided health examination during employment? Are workers conducting visual inspections under gone periodic eye examination? Are the record maintained? Are all personal aware about of the principles of GMP and received initial and continued training including hygiene instructions? |  |  |  |  |  |
| 4.0 4.1 4.2 4.3 4.4 4.5 4.6 4.7 4.8 4.9 5.0 5.1 5.2 5.3 5.4 5.5 5.6 5.6.1 5.6.2 5.6.3 5.6.4 5.6.4.1 5.6.4.2 5.6.4.3 5.6.4.4 5.6.4.5 5.6.4.6 5.6.4.7 5.6.4.8 5.6.4.9 5.6.5 5.6.5.1 5.6.5.2 5.6.5.3 5.6.5.4 5.6.5.5 5.6.5.6 5.6.5.7 5.6.5.8 5.6.5.9 5.7 5.7.1 | VALIDATION Is validation properly documented and include Validation Master Plan, Validation Protocols, Validation Reports and Equipment Qualified? Are validation studies conducted in accordance with pre-defined protocols? Have production procedures been validated? Does the process control address an issue to ensure identity, strength, quality and purity of product? Does the procedure include formulation that is written to yield not less than 100% of established amount of active ingredients? Are all weighing and measuring performed by one qualified person and observed by a second person and is dully signed by both of them on record sheet? Validation of New Master Formula: Is new master formula or method of preparation adopted and steps taken to demonstrate its suitability for routine processing, process defined materials and equipment specified? Validation of Equipment & Materials: Are significant amendments to the manufacturing process, including any change in equipment and materials affecting product quality or re-productivity of process validated? Are validation records properly maintained? DOCUMENTATION / RECORDS Are documentation meticulously maintained as per rules and regularly reviewed and kept up to date? Is documentation accurate, clear & neat. Does it define specifications and procedures for all materials & methods of manufacture & control? Are all the specifications, testing procedures, master formulae, packing instructions and standard operating procedures (SOPs) available, current & being followed? Do the records provide existence of documented evidence, traceability, and an audit trial that will permit investigation? Does the record provide batch processing & packaging details including receiving sample, processing equipment, analytical testing and laboratory instrument records? LABELS Are labels to the containers, equipment or premises applied un-ambiguously according to company’s agreed format? Are labels of different colors indicating the status such as “Quarantined”, “Accepted”, “Rejected”, or “Clear” used? Are all finished products are labeled as per specification? PROCESS DOCUMENTS / RECORDS Are following documents / record are available: Starting material re-assy. Specifications for intermediate and bulk products Batch processing records Record for process operation Batch packaging records Record for packaging operation Record of Batch numbers Analytical records of the batch Record for finished product release procedure STANDARD OPERATING PROCEDURES (SOPS) Are SOPS and associated records of actions, conclusions reached available for the following at the premises? Equipment assembly and validation Analytical apparatus and calibration Maintenance, cleaning and sanitization Personnel matters including qualification, training, clothing and hygiene Environmental monitoring Pest control Complaints Drug recalls Drug returns EQUIPMENT LOG BOOKS Are log books for major & critical equipments identified by company kept? |  |  |  |  |  |

| 6.0 6.1 6.2 7 7.1 8.0 8.1 8.2 | VENDOR QUALIFICATION Do you have list of approved vendors? Are the vendors supplying raw material (both active & inactive ingredients), empty gelatin capsules, primary packaging & printed packaging components audited & found to be satisfactory? CHANGE CONTROL PROGRAM Is there a formal change control program in place supported by an SOP to initiate, review & approve changes in material, sources, processes, products packaging, equipment, batch size changes etc. SAMPLE Does the company retain a sample of lot or batch of the packaged / labeled drug for a period of at least one year after the expiration date on the label of the drug? Does the company retain a sample of each lot or batch of a raw material (including both active and inactive ingredients)? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 9.0 9.1 9.2 9.3 10.0 10.1 10.2 11.0 11.1 11.2 | STABILITY STUDIES Does the company have a prospective and concurrent stability studies program based on SOP and utilizing proper equipment i.e. climatic chambers maintained at 30° C / 65% RH for ambient and 40° C / 75% RH for stress conditions and continuously monitored for temperature & RH? Is stability of finished products evaluated and documented prior to marketing? Does the stability data support shelf life assigned to the product. Are any deviations in data reviewed and appropriate steps taken in case of stability issues? DRUG RECALL Do you have SOP for drug recalls? If answer yes to the above did you have any drug recall in the past 2 year? (Please also mention the name of products) ANNUAL PRODUCT REVIEW Is there a process in place to review statistical data (i.e.: trend analysis, reworks, rejects, customer complaints) of all the products manufacture during the year? Provide name of the products manufactured by you along with price list. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 11.3 11.4 12.0 12.1 12.1.1 12.1.2 12.2 12.3 13.0 13.1 13.2 13.3 13.4 13.5 13.6 13.7 13.8 13.9 13.10 | Provide the source of raw material for individual products. Do you export your products, if so then to whom and mention the name of the products? AUDIT / COMPLAINTS INTERNAL GMP AUDITS Do you have an effective internal GMP inspection program to audit all the manufacturing areas, activities & QC lab at specific defined periods? Is there a process in place to fill the gaps / observation / non-conformance found during the internal GMP audits? QUALITY AUDITS Is quality audit conducted by outside or independent specials or a team designated by the management for the purpose? COMPLAINTS Are complaints and other information concerning potentially defective products carefully reviewed according to the written procedures? QUALITY CONTROL DEPARTMENT Does the QC lab have SOPs to cover all the functional areas? Are adequate facilities and equipments available for the physical, chemical & microbiological testing? Are approved written procedures available for sampling, inspecting and testing raw materials, packaging materials, in process drugs, bulk drugs and finished products? Are samples of starting material, packaging material, intermediate products, bulk products and finished products taken by methods and personnels approved by QC department? Are in-process materials tested at appropriate phases for identity, strength, quality, purity and are they approved or rejected by Quality Control? Are records of in- process controls maintained? Does each batch of drug product prior to release confirms compliance of finished product specification? Are validated & stability indicating assay methods used? Are reference standards used for the assay? Are accurate, clear & neat records maintained along with the raw data for the entire analytical work? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.0 14.1 14.1.1 14.1.2 14.1.3 14.1.4 14.1.5 14.1.6 14.1.6.1 14.1.6.2 14.1.6.3 | MANUFACTURING AREA EQUIPMENTS, MATERIAL / COMPONENT EQUIPMENTS Does the company have suitable equipments capable of producing consistent quality products? Do the equipments meet contemporary standards for the manufacture of pharmaceuticals i.e. smooth finishes, right quality construction material for the intended purpose, easy to clean, wash, sterilize etc. Are the following pieces of equipments suitable in their design/size & capacity? (Blendes, Conveyors, Tablet presses, Capsule fillers, Bottle fillers etc) Does the equipments & facilities have appropriate controls to maintain required parameters e.g. temperature, relative humidity, pressure differentials etc? Is the equipment cleaned promptly after use? EQUIPMENT/INSTRUMENTS CALIBRATION & PREVENTIVE MAINTENANCE Are written records maintained on equipment cleaning, sanitizing and maintenance on or near each piece of equipment? Does the facility have approved written procedures for checking and calibration of each piece of measurement equipment? Are records of calibration checks and inspections maintained in a readily retire able manner? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.1.7 14.1.7.1 14.1.7.2 14.1.7.3 14.2 14.2.1 14.2.2 14.2.3 14.2.4 14.2.5 14.2.6 14.2.7 14.2.8 14.2.9 14.2.10 14.2.11 14.2.12 14.2.13 14.2.14 14.2.15 | MATERIAL/COMPONENT All handling of material and products such as receipt, quarantine, sample storage, tracking, labeling, dispensing, processing, packaging and distribution is done in accordance with approved written procedure, or instruction and recorded? All incoming materials and finished products quarantined immediately after receipt or processing until they released for use or distribution? Are all materials handled in such a way to prevent contamination? RAW MATERIAL Were the premises designed for storing the raw material? Does the store premises allow storage of raw materials at various temperatures? If answer yes to the above what are the controls to log any irregularities? What is the source of the active ingredient used? What are the source of additives used? Is any documentation done at the time of receiving the raw materials? What is the process of communication with the laboratory for sampling of the raw material? Is there a quarantine for storing unreleased raw materials? If so, what is the process? What is the process of storage after the raw material is released for use? What is the process of issue of raw material for manufacturing? Who is responsible of issuing? What is the process of revalidation of balances? What is the process of revalidation of raw materials? Do you have a standard operational procedural manual for stores? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.3 14.3.1 14.3.2 14.3.3 14.3.4 14.3.5 14.3.6 14.3.7 14.3.8 14.3.9 14.3.10 14.3.11 14.3.12 14.3.13 14.3.14 14.3.8 14.3.9 14.3.10 14.3.11 14.3.12 14.3.13 14.3.14 14.3.15 14.3.16 14.3.17 14.3.18 14.3.19 14.3.20 14.3.21 14.3.22 14.3.23 14.3.24 14.3.25 14.3.26 14.3.27 14.3.28 14.3.29 14.3.30 14.3.31 14.3.32 14.3.33 14.3.34 14.3.35 14.3.36 14.3.37 14.3.38 14.3.39 | PURIFIED AND WATER FOR INJECTION SYSTEM Does the facility have proper Purified and Water for Injection System available? Is water circulating in a continuous loop and maintained at 80° C, 24/07/365? Is quality of water monitored chemically & biologically on daily basis? Is purified water used in all oral preparation & washing of equipment? Is water for injection used for all sterile preparation, clean steam generation for autoclaving, final rinse of machine parts and sterile container? Are deionizers that feed water for injection of two bed design and able to provide for continous flow? Are stills constructed of stainless steel? If yes what type? Are still equipped with devices which measure, record and automatically control conductivity Have the stills been passivated? Are the holding tanks electropolished and passivated? Are the holding tanks electro polished and passivated? Are the holding tanks equipped with heated or jacketed 0.2 micron hydrophobic filter? Are the holding tanks capable of steam sterilization at a minimum of 121° C? Are holding tanks equipped tanks equipped to maintain WFI at 80 °C? Are the holding tanks equipped to supply nitrogen through a 0.2 micron hydrophobic vent filter? If WFI system constructed of stainless steel 316 L or equivalent? Is WFI system electro polished and passivated? Is there a continous loop, single pass system? Is the system sloped with dead legs no larger than 6 pipe diameters? Is the system fitted with diaphragm values ? Is the system capable of steam sterilization? Is the system capable of being maintained at 80 °C with continous temperature monitoring devices? Is the conductivity of WFI monitored on return loop? Are pumps constructed of stainless steel, 316 L or equivalent? Do the pumps use WFI as seal lubricant? Are pumps able to be completely drained? What is the source of water to the facility? Well / City water / Treated / Untreated Is testing performed on dionized water system which supplies the NFI system? What tests are performed? How frequently are they performed? Are the results documented? Are there heat exchangers with in WFI system? What is the type of heat exchangers 316 L / Double sheet type/ double concentric tube type? What is the type and porosity of filters within WFI system? Which department performs the validation of WFI system? Was the validation approved by QC/QA? Was the report issued and forwarded to world wide QC/QA? Do you have SOP written for WFI? Is WFI tested when used as raw material as per testing standard Z 5576 requirements? Are the results documented? Are the all use points in WFI system tested as per testing standard Z 5576 on weekly basis? Are the results documented? Have microbial limits been established for WFI samples? What action plan exists in the event the microbial limits exceed? Are the investigation documented? What is the porosity of membrances used in microbiological testing? What nutrient media is used? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.3.40 14.3.41 14.3.42 14.3.43 14.3.44 14.3.45 14.3.46 14.3.47 | At what temperature and for how long are WFI samples incubated? After incubation how are results documented? Are any micro organisms that are isolated from positive WFI samples gram stained and/or identified to genus / species?3 Are standardized and validated autoclave loads for nutrient media used for WFI testing? Are growth support testes performed on each lot of nutrient media that is used for WFI testing? How is sterility verified for each lot of nutrient media that is used for WFI testing? How is nutrient media stored prior to use? Are there established routine maintenance / calibration programs for deionized and WFI systems? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 14.4 14.4.1 14.4.2 14.4.3 14.4.4 14.4.5 14.4.6 14.4.7 14.4.8 14.4.9 14.4.10 14.4.11 14.4.12 14.4.13 | DEPACK / PREPARATION COMPONENT ROOM Is the depack room separate from the component preparation room? Does depack room have air conditioning and local exhaust for dust control? Is there a pass through between the depack room and the component preparation room? Is there a uniform change room outside of the preparation component room? Is access to the preparation component room restricted? What is the preparation component room designated class? What is the efficiency of filters? __________ % How many air changes occur per hour? What type of water is supplied to washer and sinks? What is the validation process for the washing of stopper & vials? How are the silicone vials and stopper tested for use? Are Stopper and vials tagged with lot numbers as such through sterilization/depyrogenation and on through filling How frequently are efficiency filters and laminar flow hood heap filters tested? Are the garments made of non-shredding material? What is the frequency of the garments being sterilized? |  |  |  |  |  |

| 14.5 14.5.1 14.5.2 14.5.3 14.5.4 14.5.5 14.5.6 14.5.7 14.5.8 14.5.9 14.5.10 14.5.11 14.5.12 14.5.13 14.5.14 14.5.15 14.5.16 14.5.17 14.5.18 14.6 14.6.1 14.6.2 14.6.3 14.6.4 14.6.5 14.6.6 14.6.7 14.7 14.7.1 14.7.2 14.7.3 14.7.4 14.7.5 14.7.6 14.7.7 14.7.8 | STERILIZER / OVEN LOADING ROOM What is the sterilizer / oven loading room designated class? What is the efficiency of filters? How many air changes occur per hour? Does the sterilizer meet the following criteria: Is it capable of maintaining an empty chamber temperature distribution of +/- 1° C at a steady state? Is there a double door design with interlock? What is the size of vent filter? Is it capable of using thermocouples in the chamber for measuring load temperatures? Is it equipped with a recording device for checking temperature and pressure? Is it equipped with a vacuum pump for the removal of air from the load? Is it equipped with a clean steam? Does the oven meet the following criteria? Is it equipped with hepa filtered air? Are there 2 inter locking doors? Are there recirculating fans located upstream of the Hepa filters? Does it have the resistance temperature device in the return air duct for control temperature? Can it maintain an empty chamber temperature distribution of +/- 25 °C at 300 °C when utilized for depyrogeration and at a 90 °C +/- 20 °C for sterilization? Is it equipped with a temperature recorder? Can be fitted with additional temperature probes for measuring loaded materials? How frequently are the sterilizer and oven calibrated and the results documented? How frequently are the efficiency filters integrity tested? Are the results of the testing documents? Are the garments made of non sharedding material? Are the garments washed and sterilized after use? How frequently are they sterilized? Are the procedures validated for the sterilized/depyrogenated stoppers and components? Are biological or chemical indicators used? Are stoppers and components used for a given lot of product traceable via a lot number to a specific sterilizer/oven load? How long can the of sterilized/depyrogenated components be stored prior use? Are the processes for storage of sterilized /depyrogenated components validated? Are the sterilizer and oven charts reviewed by Quality Control prior to the release of sterile products? Have restrictions been established for the number of times that components may be sterilized /depyrogenated? EQUIPMENT AIRLOCK Are the air lock doors interlocked double room concept? Is the airlock designated class 100,000? Are there low level air returns? What is the air flow from? Does the airlock have lights? Ultraviolet b) Infra Red Is the airlock equipped for spray sanitization? What sanitizing agent is used? WASHROOM / GOWN CHANGE ROOM Is the wash room equipped with sink and hot air hand drivers? Does the wash room have lights? a) Ultraviolet b) Infra Red Does the wash room have interlocked doors? Is there an airlock entry from the grown change room into the Sterile rooms? Is the grown change room designed as class 100,000? Are garments made of non-shredding material? How frequently are they sterilized? What sanitization agent is used? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.8 14.8.1 14.8.2 14.8.3 14.9 14.9.1 14.9.2 14.9.3 14.9.4 14.9.5 14.9.6 14.9.7 14.9.8 14.9.9 | MANUFACTURING (STERILE PRODUCTS) Does the company have adequate sterilizing, deprogenating, sterile, filteration, processing, filling and packaging equipment available? Is there an adequate control of viable, non-viable micro-organisms and effective routine monitoring of sterile area and aseptic practices through use of reliable equipment? Are sterile area air handling unit run 24/7 except for shut down due to routine maintenance to maintain sterile environment? ENVIRONMENTAL MONITORING Are laminar flow hood and HVAC system which serve the sterile operations areas validated? Which department performs the validation? Was the validation approved by QC/QA? Was the report issued? If yes, was the report forwarded to worldwide QC/QA? Is there an environmental monitoring program for the aseptic batching area, sterile filling room, sterile filling line and ancillary areas? Is non viable particulate sampling performed? How is viable air sampling performed? How is surface sampling performed? Is environmental monitoring equipment on a maintenance / calibration program? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.9.10 14.9.11 14.9.12 14.9.13 14.9.14 14.9.15 14.9.16 | At what temperature for how long are environmental monitoring samples incubated? After incubation how are test results documented? What nutrient media is used for environmental monitoring? Are there standardized and validated autoclave loads for nutrient media used for environmental monitoring? Are growth support tests performed on each lot of nutrient media that is used for environmental monitoring? How is sterility verified for each lot of nutrient media that is used for environmental monitoring? How is nutrient media stored prior to use? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 14.10 14.10.1 14.10.2 14.10.3 14.10.4 14.10.5 14.10.6 14.10.7 14.10.8 14.10.9 14.10.10 14.10.11 14.10.12 14.10.13 14.10.14 14.10.15 14.10.16 14.10.17 14.10.18 14.10.19 14.10.20 14.10.21 14.10.22 14.10.23 14.10.24 14.10.25 14.10.26 14.10.27 14.10.28 14.10.29 | ASCEPTIC BATCHING AREA Is the area designated as class 10,000? Are there terminal Hepa filters? What is the minimum of air changes per hour? Is the area capable of complying with the maximum temperature (68° F) and humidity limits (50% RH)? Do the laminar flow hoods provide class 100 air over the product? Is all the product contact equipment in the aseptic batching area sterilizable by hot air or steam? Are the walls, floors and ceilings non porous and sanitizable? Are the doors self closing without door knobs? Are the light fixtures and motors totally sealed and enclosed? Are the room air pressure, temperature, humidity and filter pressure drop automatically monitored, alarmed and recorded? Do personnel sanitize their gloved hands? Are Hepa filters and laminar flow hoods integrity tested? If yes, how frequently? Are equipment status labeled? Are the results documented for the equipments calibrated? Are sterilization/clarification filters integrity tested and results documented What is the quality of water used for equipment cleaning? Are tanks, hoses etc sterilized prior to use and are these procedures user validated? Are tanks labeled during processing indicating status of product? Are asceptic operations performed using laminar flow hoods? Is sterile bulk sampled and tested as per testing standard requirements? Are sampling and testing complete prior to or concurrent with the filling operation? Is bulk held under positive pressure after final filtration / sterilization? How are gases sterilized? Is sterile gas filters integrity tested before and / or after use? How is bulk yield determined? Are batches reprocessed? If so, what are the written procedures? Is rework material routinely added to batches? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 14.11 14.11.1 14.11.2 14.11.3 14.11.4 14.11.5 14.11.6 14.11.7 14.11.8 14.11.9 14.11.10 14.11.11 14.11.12 14.11.13 14.11.14 14.11.15 14.11.16 14.11.17 14.11.18 14.11.19 14.11.20 14.11.21 14.11.22 14.11.23 14.11.24 14.11.25 14.11.26 14.11.27 14.11.28 14.11.29 14.11.30 14.11.31 14.11.32 14.11.33 14.11.34 14.11.35 14.11.36 14.11.37 14.11.38 14.11.39 14.11.40 | FILLING ROOMS Is the filling room designated as class 10,000? What are the minimum air changes per hour Are environmental systems designed to run continuously? Is the area capable of complying with maximum temperature (68 °F) and humidity limits (50%RH)? Do this laminar flow hoods provide class 100 air over product? Is the product contact equipment sterilize by hot air or steam? Are the walls, floors and ceilings non-porous and sanitizable ? Are the doors self closing without door knobs? Are the light fixtures and motors totally sealed and enclosed? Are room air pressure, temperature, humidity and filter pressure drop automatically monitored, alarmed and recorded? Are the filling lines designed with laminar flow hoods to provide class 100 air at the rate of 90feet/minute at the product height? Are surfaces of laminar flow hood made of stainless steel? Is the filling line equipped with continous non-hinged, non-shedding sanitizable belt or conveyor system? Is the filling line equipped with automatic filling and stoppering equipment? What sanitizing agent is used to sanitize gloved hands? Are Hepa filters and laminar flow hoods integrity tested? If yes, how frequently? How is the product delivered from aseptic batching area to the filling lines? Is the sterile bulk filtered on line? Is the sterile filter integrity tested before and/or after use? Is the porosity and type of filter included with the batch records? Are results of filter integrity test included with the batch records? Is bulk held under positive pressure during filling operation? How are gases sterilized? Are asceptic operations performed using laminar flow hoods? How is the filling figure determined? Is the fill volume checked during filling operation? Are the results documented? What action is taken when filling limits are exceeded? Are vials flooded with nitrogen? Where are the vials capped? Are rejected vials reprocessed? If so what are the written procedures? Is QC/QA informed of manufacturing problems that could affect product quality? (Alert Notice System). What is the quality of water used for equipment cleaning? What filling equipment parts are sterilized /depyrogenated inan autoclave oven prior to use? Have these processes been validated? How frequently are the filling line (including accessories) sanitzed? What sanitization agents are used? Are the procedures validated and documented? Is a filling line use record kept? |  |  |  |  |  |
| 14.12 14.12.1 14.12.2 14.12.3 14.12.4 14.12.5 14.12.6 14.12.7 14.12.8 | SANITIZATION OF STERILE ROOMS How frequently is the sterile area sanitized? What areas are sanitized? Floor / Wall / Ceilings What sanitizing agents are used? Are sanitizing agents rotated? Are sanitizing agents prepared with WFI and filter sterilized prior to use? How is it applied to surfaces? Is sanitization agent allowed to dry and then rinsed off with WFI? Is sanitization documented? |  |  |  |  |  |
| 14.13 14.13.1 14.13.2 14.13.3 14.13.4 14.13.5 .14.13.6 14.13.7 14.13.8 14.13.9 14.14 14.14.1 14.14.2 14.14.3 14.14.4 | INSPECTION Are filled vials inspected for particulars and container defects prior to packing? What percentage of batch is inspected? Are the types of rejected vials documented? Are rejected vials reprocessed? Is there a written procedure for handling rejected vials? Are inspectors trained? Is the training documented? Do inspectors receive an eye examination? If yes, how frequently? TERMINAL STERILIZATION Are any products terminally sterilized? Are these processes validated? Is each sterilization cycle recorded on a time-temperature chart? Are biological indicators used in sterilization process? |  |  |  |  |  |
| 14.15 14.15.1 14.15.2 14.15.3 14.15.4 14.15.5 14.15.6 14.15.7 14.15.8 14.15.9 14.15.10 14.15.11 14.15.12 | PACKAGING Is the packaging line equipped with capping equipment? If so then with semi-automatic or automatic? Are line, clearances performed and documented? Is there adequate packing indicating status of product? Is the line labeled during packing indicating status of product? Are QC inspectors checking and documenting the packaging operations? Are rejected vials reprocessed? Are the number of packaged containers reconciled with the amount of filled containers that were delivered for packaging? Is the reconciliation documented? Upon completion of packaging, are the labels, inserts and cartons reconciled? Is QC/QA informed in writing of manufacturing problems that could affect product quality? How frequently is the area cleaned / sanitized? |  |  |  |  |  |
| 14.16 14.16.1 14.16.2 14.16.3 14.16.4 14.16.5 14.16.6 14.16.7 14.16.8 14.16.9 14.16.10 14.16.11 14.16.12 14.16.13 14.16.14 | MANUFACTURING (ORAL DOSAGE FORM) What is the receiving process of raw material from the stores? Where is the raw material stored after being issued from the stores? Does the QC validate the water used during the manufacturing process? What is the source of water? What are the SOP for the dryers used? What are the controls for the temperature logging of the dryers? What are SOP to eradicate cross contamination? What procedures are adopted for storing of granules checked by QC for releasing the batch for compression? Are the granules checked by QC for releasing the batch for compression? During compression what are the SOP followed? How frequent does QC inspector verifies the compression process? How many compression machines are handled by one operator? If answer to above is more than one what precautions are in force to avoid cross contamination between different products? How are the compressed tablets stored before the batch is released for packaging? |  |  |  |  |  |
| 14.16.15 14.16.16 14.16.17 14.16.18 14.16.19 14.16.20 14.16.21 14.16.22 14.16.23 14.16.24 14.16.25 14.16.26 14.16.27 14.17 14.17.1 14.17.2 14.17.3 14.17.4 14.17.5 14.17.6 14.17.7 14.17.8 14.17.9 14.17.10 | Are there temperature log sheets maintain during the manufacturing cycle? What safety measures are adopted for the personnel working in manufacturing? Do you manufacture capsule dosage form What types of humidifiers are used at the point of capsule filling? Is filling done on an automatic, semi-automatic or manual machine? How is the polishing of filled capsules done? What are the SOP for liquid manufacturing? What is the process of bottle washing? What is the type of water used in bottle washing? How is the batch released by QC? How are the stainless steel tanks washed after completion of a product? Check on yields and reconciliation of quantities are carried out at appropriate stages of the process to ensure that yields are within acceptable limits. Are the deviations from the expected yield are recorded and investigated? PACKAGING What is the glass type of the bottles used? What are SOP for Packaging Materials Packaging Operation Labels and Labeling How frequent does the QC inspector visits the packaging area? Is the integrity of the batch maintained during the packaging process? Is there SOP for packaging Material? Is there SOP for Packaging Operations? Is there SOP for Labels & Labeling? All products and packaging materials to be used are checked on receipt by the packaging department for quality, identity and conformity with the packaging instructions? The name and batch number of the product being handled is displayed at each packaging station or line? |  |  |  |  |  |
| 15.0 15.1 15.2 16.0 16.1 16.2 16.3 | REPROCESSING Do written procedures identify steps for reprocessing batches? Does QC testing confirms that reprocessed batches conforms to established specification? FINISHED PRODUCT CONTROL Do written procedures indicate how and who verifies that correct containers and packages are used for finished product during there finishing operation? Has the formulation of each product been tested for stability based on a written protocol? Are written sampling and testing procedures and acceptance criteria available for each product to ensure conformance to finished product specification? |  |  |  |  |  |
| 17.0 17.1 17.2 17.3 17.4 17.5 17.6 17.7 17.8 17.9 17.10 17.11 17.12 | WAREHOUSING / DISTRIBUTION Are material stored under conditions as per the storage instructions on the label? Is there adequate space for the orderly storage of material? Is there a segregation of quarantined, approved & rejected materials? Are there separate stores for raw material, packaging material, labels and finished products? Are materials stored on pallets, shelves, or racks, off the floor and off the walls in all stores? Are minimum and maximum temperatures in the store recorded? Are air-conditioned and cold room facilities available? Are flammable and hazardous chemicals stored in safe conditions? Are there no expired raw materials in the raw material store(s)? Are materials dispensed according to prescribed SOP meeting GMP requirements? After release by quality control, are raw materials and packaging materials released on a FIFO (first in first out) basis? Do distribution records in the finished good store enable specific batches to be traced? |  |  |  |  |  |
| 18.0 18.1 18.2. 18.3 18.4 18.5 18.6 18.7 18.8 | ENVIRONMENT, HEALTH & SAFETY Does the company monitor and maintain incident / accident data etc to create awareness and develop improvement plans? Does the company industrial hygiene sampling / monitoring program, do the employees use appropriate personnel protective equipment? Does the company have fire fighting facility having fire hydrants, sprinkler system & trained people to handle the emergency? Does the company have a proper hazardous and non-hazardous material storage and disposal system? (E.g. explosion proof cabinets & manufacturing suites, flammable storage area, solid waste incineration and waste water treatment)? Are drains and routine cleaning procedures sufficient to prevent standing water inside the facility? Is lighting adequate in all areas? Is the control of air pressure, dust humidity and temperature adequate for the manufacturing, processing storage or testing of the drug products? If air filters are used is there a written procedure specifying the frequencies of inspection and replacement? |  |  |  |  |  |